## Slide 1: ASM Transformation Architecture
Date: 12/08/2025

## Slide 2
Solution analyzer
Cell counter
Plate reader
Format detection/code generation engine
Auto-detect file format
Extract metadata and structure
Dynamic code generation
Approval workflow
Router
Plate reader converter
Cell counter converter
Solution analyzer converter
Generic file converter
ASM Generation engine
Apply Allotrope ontology mapping
Generate compliant ASM files
Schema validation
Quality scoring and certification
Instrument
FTP/SFTP
File watcher
API endpoint
Push gateway
Laboratory instruments
Data ingestion layer
Intelligent converter Hub
ASM Files Data Lake
Quality certified
Schema compliant
Audit trail
Instrument
Method
Sample
Result
Project
Protocol
Calibration
Quality
Visualization Dashboard
Method Development Analytics
Quality Certification Service
AI Insights Engine
Knowledge Graph Platform
Scientist Interface
Allotrope Converter Architecture
Sample-Centric Approach
Notes: 1) Introduction & Overview
"This architecture represents our vision for a modern, intelligent laboratory data conversion system that bridges your scientific instruments with standardized data formats while enabling advanced analytics capabilities."
2) Laboratory Instruments & Data Ingestion (Left Side)
"Starting on the left, we support multiple laboratory instrument types, each generating data in their native formats. Our data ingestion layer acts as a secure gateway, ensuring reliable data capture from your instruments while maintaining data integrity."
3) Intelligent Converter Hub (Center)
The heart of our solution is the Intelligent Converter Hub, which consists of two key components:
Format Detection/Code Generation Engine:
Automatically identifies incoming file formats
Generates appropriate conversion rules
Manages approval workflows
Ensures data quality and compliance
ASM Generation Engine:
Applies Allotrope ontology mapping
Creates compliant ASM files
Performs schema validation
Includes quality scoring and certification
Knowledge Graph Platform (Right Side)
4) The Knowledge Graph Platform implements a sample-centric approach that:
Creates relationships between samples, projects, and methods
Enables sophisticated data analytics
Provides visualization capabilities
Supports quality certification services
5) Scientist Interface “Scientists interact with the platform through:
Intuitive dashboards
Method analytics tools
Quality control interfaces
Visualization tools”
Key Benefits "This architecture delivers:
Automated data standardization
Enhanced data quality
Improved scientific collaboration
Advanced analytics capabilities
Regulatory compliance
Future-proof scalability“
Close "By implementing this architecture, you'll have a robust, compliant, and intelligent system that transforms raw instrument data into actionable scientific insights."

## Slide 3
API
Code Generation
ASM Converter
Instrument 1
Instrument 2
Instrument 3
Instrument 4
Routing Service
Format Detector
ASM Document
Validate Document
Analyzer
Metadata
1
2
3
4
6
5
7
8
Instrument generates files and automatically pushes to the cloud for processing. Format: instruments/{instrument_type}/{instrument_id}/{YYYY}/{MM}/{DD}/{filename} | Files are uploaded to a staging S3 bucket, an S3 event notification triggers the enhanced processor to initiate the workflow. | File type is detected and routed to the existing converter, validated, and ASM compliant document generated | File type is unknown and routed to the analyzer for code generation.
Code generated is submitted for review and approval. | Scientist reviews the code and approves/rejects | File conversion is triggered and send for validation | Scientist monitors pipeline results
1
2
ASM Converter
Validate Document
Intelligent converter Hub
3
4
5
6
7
8
Orchestrator
Scientist
Scientist
Edge Gateway

## Slide 4
Raw files
Code Generation
ASM Converter
Instrument 1
Instrument 2
Instrument 3
Instrument 4
Routing Service
Format Detector
ASM Document
Validate Document
Analyzer
Metadata
1
2
3
4
6
5
7
8
Instrument generates files and automatically pushes to the cloud for processing. Format: instruments/{instrument_type}/{instrument_id}/{YYYY}/{MM}/{DD}/{filename} | Files are uploaded to a staging S3 bucket, an S3 event notification triggers the enhanced processor to initiate the workflow. | File type is detected and routed to the existing converter, validated, and ASM compliant document generated | File type is unknown and routed to the analyzer for code generation.
Code generated is submitted for review and approval. | Scientist reviews the code and approves/rejects | File conversion is triggered and send for validation | Scientist monitors pipeline results
1
2
ASM Converter
Validate Document
Intelligent converter Hub
3
4
5
6
7
8
Orchestrator
Scientist
Scientist
Data Movement
Data Movement
Notes: Instrument 1 – PCR Diagnostics Analyzer
Instrument 2 – Cell Counter
Instrument 3 – Capsule Filling Machine
Instrument 4 – DNA Extractor

## Slide 5
Raw files
Code Generation
ASM Converter
Instrument 1
Instrument 2
Instrument 3
Instrument 4
Routing Service
Format Detector
ASM Document
Validate Document
Analyzer
Metadata
1
2
3
4
6
5
7
8
Instrument generates files and automatically pushes to the cloud for processing. Format: instruments/{instrument_type}/{instrument_id}/{YYYY}/{MM}/{DD}/{filename} | Files are uploaded to a staging S3 bucket, an S3 event notification triggers the enhanced processor to initiate the workflow. | File type is detected and routed to the existing converter, validated, and ASM compliant document generated | File type is unknown and routed to the analyzer for code generation. | Code generated is submitted for review and approval.
Scientist reviews the code and approves/rejects | File conversion is triggered and send for validation | Knowledge graphs created | Text analytics enabled | Scientist monitors pipeline results
1
2
ASM Converter
Validate Document
Intelligent converter Hub
3
4
5
6
7
8
Orchestrator
Scientist
Scientist
Data Movement
Data Movement
Test Analytics
Create Semantic Layer
Knowledge Graphs
Visualization
9
10
9
10

## Slide 6: Appendix

## Slide 7
AWS Storage Gateway
Amazon Simple Storage Service (Amazon S3)
Amazon DynamoDB
Amazon Bedrock
Amazon API Gateway
Amazon Simple Queue Service (Amazon SQS)
Amazon Simple Notification Service (Amazon SNS)
AWS Step Functions
AWS Lambda
File system
S3 Standard
AWS DataSync
PCR Diagnostics Analyzer
Cell Counter
Capsule Filling Machine
DNA Extractor
Metadata
Customer Gateway
Gateway
Amazon Neptune
Amazon OpenSearch
Amazon QuickSight
AWS Glue
AWS Glue Catalog