# Instrument Config File Requirement for ATaaS

A Concise Overview for Stakeholders

## 1. Situation / Problem

Laboratory instrument data files (CSV, XML, JSON) do not consistently include instrument identification metadata. Without knowing the originating instrument, the ATaaS conversion service cannot reliably route files to the correct conversion logic or produce fully traceable Allotrope Simple Model (ASM) output.

This is a practical gap — not a flaw unique to any one instrument or vendor — and it affects the accuracy and auditability of automated conversions.

## 2. Suggested Approach: Instrument Config File

Customers provide a lightweight JSON config file alongside their data file. This file contains the instrument details the customer already maintains for their own regulatory records.

Example config file (nova-flex2-lab1.instrument-config.json):

{

"vendor": "novabio",

"instrument_type": "solution_analyzer",

"manufacturer": "Nova Biomedical",

"model": "BioProfile FLEX2",

"serial_number": "FLEX2-12345",

"software_version": "v2.1.0",

"file_format": "csv"

}

- One-time setup (~5 minutes per instrument)

- Reusable across all future files from the same instrument

- Required fields are minimal; optional fields support richer traceability

## 3. Examples

Example A – Nova FLEX2 Solution Analyzer A lab uploads SampleResults2025-November.csv. Without a config file, the service cannot distinguish this file from output produced by a structurally identical Roche CEDEX BioHT analyzer. With the config file, conversion is routed correctly and compliant ASM output is generated in under 1 second.

Example B – New Customer Onboarding A customer with no prior ASM history uses the ATaaS config wizard to create their first instrument config file in ~5 minutes. All subsequent file submissions are fully automated with no additional input required.

## 4. FAQs

Q: What about using an equipment database instead? An equipment database is a valid complementary approach and could be used to pre-populate or validate config files. However, it still requires customers to register their instruments with accurate serial numbers and software versions — the same information captured in the config file. The config file approach is more flexible and does not require upfront database integration.

Q: How would config files be deployed and kept up to date across a fleet? Config files are created once per instrument and stored in the ATaaS service for reuse. Updates are only needed when software versions or calibration records change (estimated ~2 minutes annually). For large fleets, bulk upload templates and a creation wizard are available to streamline the process.

Q: Are required fields different from optional fields? Yes. Required fields (vendor, instrument_type, manufacturer, model, file_format) are the minimum needed for accurate routing. Recommended fields (serial_number, software_version, calibration_date, location) support regulatory traceability. Optional fields allow customers to attach internal metadata such as cost center or project codes.

Q: What about AI-based or automated identification as an alternative? Automated approaches have been evaluated and can serve as a helpful starting point — for example, the service can suggest likely instruments based on file analysis. However, probabilistic suggestions are used to assist customers in completing their config file, not to replace it. Customer confirmation ensures accuracy and maintains a clear audit trail.