## Slide 1
ASM Transformation Service
End-to-End Process Map
Converting Laboratory Instrument Data to Allotrope Simple Model (ASM) Format
Powered by AWS Bedrock Claude • Allotropy Library • Custom Converters

## Slide 2
Service Overview
A complete pipeline for converting raw instrument files to validated, integrity-verified ASM output.
• Hybrid approach: proven allotropy parsers + AI generation for unknown formats
• 31 instruments supported natively via allotropy library
• Custom converter registry for proprietary instrument formats
• AI-powered fallback using AWS Bedrock Claude 3.5 Sonnet
• DVaaS validation with PDF attestation reports
• Data integrity verification: field-by-field source-to-ASM proof
• FDA 21 CFR Part 11 and EMA Annex 11 compliance ready
• No data persistence — files processed in-memory only

## Slide 3
Two Entry Points
Entry Point 1: CONVERT
"I have a raw instrument file and need ASM output"
• Provide: Instrument File + Instrument Config (JSON)
• Full pipeline: Upload → Route → Convert → Validate → Integrity Check
• Returns: ASM file + Validation PDF + Integrity report
Entry Point 2: VALIDATE
"I already have an ASM file and want to check compliance"
• Provide: ASM JSON file only
• DVaaS validates any ASM file regardless of source
• Returns: Validation status + errors/warnings + PDF attestation

## Slide 4
End-to-End Process Flow
Step 0
One-Time Setup
Step 1
Upload
Step 2
Unified Converter
Step 3
Validation (DVaaS)
Step 4
Data Integrity
Step 5
Results
Create instrument config JSON (once per instrument)
Upload instrument file + config via Dashboard or API
Intelligent routing: Custom → Allotropy → AI fallback
Schema compliance, required fields, PDF attestation
Field-by-field source vs ASM comparison
ASM file, validation report, integrity report, metadata
→
→
→
→
→

## Slide 5
Step 2: Unified Converter — Intelligent Routing
The Unified Converter evaluates routes in priority order and uses the first one that succeeds.
Route A: Custom Converter
• Highest priority
• Exact match: vendor + model
• Registry or embedded converters
• Includes field_mapping ✓
• e.g. Nova FLEX2, EndoScan-V
Route B: Allotropy Library
• Second priority
• 31 supported instruments
• Rule-based parsing
• Field mapping: planned
• e.g. Vi-CELL, SoftMax Pro
Route C: ATaaS (AI)
• Fallback when A & B fail
• AWS Bedrock Claude 3.5 Sonnet
• Analyzes unknown formats
• Generates Python converter
• Best for simple formats
Priority: 1. Custom Registry → 2. Embedded Custom → 3. Allotropy (31 instruments) → 4. ATaaS (AI) → 5. Error

## Slide 6
Step 3: Validation — DVaaS
Data Validation as a Service checks ASM structural compliance against Allotrope standards.
Check
Description
Severity
Schema compliance
Does ASM follow Allotrope structure?
Error
Required fields
manifest, measurement docs, sample docs present?
Error
Measurement IDs
UUID v4 format?
Error
Timestamps
ISO 8601 with timezone?
Error
Data source traceability
Calculated values linked to source?
Error
Unit recognition
Standard Allotrope units?
Warning
Equipment metadata
Serial number, software version?
Warning
Device control
Device type, detection type?
Warning
Validation Levels:
Basic (quick structural check) • Comprehensive (production use) • Certification (regulatory submission)

## Slide 7
Step 4: Data Integrity Verification
Proves every value from the source instrument file was preserved exactly in the ASM output. No rounding, no silent data loss, no transformation.
• Converter emits field_mapping array during conversion
• Each entry: source field → source value → ASM field → ASM value → unit
• Dashboard compares source_value to asm_value for every entry
• Result: "100% Data Integrity Confirmed" or list of mismatches
Implementation Status:
Nova FLEX2 (embedded)
✓ All 40 CSV columns
Custom Converter Registry
Spec complete, not yet enforced
Allotropy Library (31 instruments)
Planned
ATaaS (AI)
Not planned
FDA 21 CFR Part 11: proof that electronic records are accurate and unaltered • EMA Annex 11: data integrity throughout the data lifecycle

## Slide 8
Converter Lifecycle — Adding New Instruments
1. IDENTIFY
Customer has a new instrument not currently supported
2. CHECK
Is it in allotropy? (31 instruments)
3. BUILD
Follow Custom Converter Requirements doc
4. REGISTER
POST /register Status: PENDING
5. APPROVE
Human reviews code POST /approve
6. AVAILABLE
Auto-used by Unified Converter for matching files

## Slide 9
Service Architecture
Dashboard (React / CloudFront)
API Gateway /convert /validate /register /approve
Unified Converter
Multi-Instrument
ATaaS (AI)
DVaaS
Custom Converter Svc
S3 Buckets ASM files Converters
DynamoDB Converter Registry Conversion History
AWS Bedrock Claude 3.5 Sonnet
AWS Cloud

## Slide 10
Live Endpoints
All services are deployed and operational. Use the Unified Converter for automatic routing.
Service
Endpoint
Purpose
Unified Converter
tqzatn5bse...amazonaws.com/prod/convert
Single entry point (recommended)
DVaaS
4ndgjn16zd...amazonaws.com/prod/validate
ASM validation & certification
Custom Converter
tfv79s08rl...amazonaws.com/prod/
Register, approve, execute
ATaaS
3dbnsq6w6h...amazonaws.com/prod/convert
AI-powered conversion (fallback)
Multi-Instrument
6uogqq4zb5...amazonaws.com/prod/convert
Allotropy library (31 instruments)
Dashboard
d2630v5zyoh8t7.cloudfront.net
Web UI

## Slide 11
Dashboard Capabilities
Validate ASM File
Validate an existing ASM file against Allotrope standards
Convert Instrument File
Convert raw instrument file to validated ASM output
Control Tower
Monitor conversion jobs, KPIs, and system health
Instrument Config Creator
Create instrument config JSON files (one-time setup)
Instrument Registry
Browse all supported instruments and their status
Converter Management
Register, review, and approve custom converters

## Slide 12
Frequently Asked Questions
Q: What if my instrument is supported by allotropy but I want field_mapping?
A: Register a custom converter. Custom converters take priority over allotropy and include field_mapping.
Q: Do I need a different instrument config for each file?
A: No. One config per instrument. Reuse it for every file from that instrument.
Q: Can I validate an ASM file without converting?
A: Yes. DVaaS validates any ASM file regardless of how it was created.
Q: What's the difference between DVaaS validation and Data Integrity Verification?
A: DVaaS checks structural correctness. Integrity verification checks faithfulness to source data.
Q: How long does conversion take?
A: Custom converters and allotropy: < 1 second. ATaaS (AI): 5-30 seconds.
Q: Is my data stored?
A: Files are processed in-memory only. No data persisted unless explicitly requested.

## Slide 13
ASM Transformation Service
Production-Ready • Regulatory Compliant • AI-Powered
✓ 31 instruments via allotropy + unlimited via AI
✓ Custom converter registry with human approval workflow
✓ DVaaS validation with PDF attestation reports
✓ Data integrity verification (field-by-field proof)
✓ FDA 21 CFR Part 11 and EMA Annex 11 ready
✓ No data persistence — in-memory processing only
Powered by AWS Lambda • AWS Bedrock Claude • Allotropy Library • AWS CDK